## Overview
Climate Change Impact on Data Centers - Facet Overview
Aggregated view of all impact facets. Each facet has a dedicated worksheet with detail. Compiled July 2026.
# | Facet | Worksheet | What it covers | Overall severity | Trend | Headline finding
1 | Physical climate hazards | Physical Hazards | Direct damage and disruption from extreme heat, flooding, wildfire, storms, drought, sea-level rise | High | Worsening | 79% of global data center capacity sits in markets exposed to elevated flood, wind or wildfire risk (First Street, 2026).
2 | Cooling & water stress | Cooling & Water | Reduced cooling efficiency, free-cooling limits, water scarcity and consumption conflicts | High | Worsening | Two-thirds of data centers built or in development since 2022 are in water-stressed regions; a large AI facility can use up to 5 million gallons/day.
3 | Energy & grid | Energy & Grid | Grid strain during heat waves, power-supply outages, demand growth colliding with climate stress | High | Worsening | Power supply causes ~45% of data center outages (Uptime Institute); extreme heat stresses data centers and the grid simultaneously.
4 | Indirect / interdependency risk | Physical Hazards | Failure of surrounding infrastructure (grid, telecom, water, transport, supply chains) | Very high | Worsening | XDI modelling: including indirect risk increases disruption risk to European data center operations roughly ten-fold.
5 | Financial & insurance | Financial & Insurance | Asset value erosion, business interruption, insurance pricing and availability, financing terms | High | Worsening | Global data-center insurance premiums projected to rise from US$10.6bn to US$24.2bn by 2030 (Swiss Re); climate exposure could grow from $388bn to $1.0-3.7tn under AI growth scenarios.
6 | Regulatory & policy | Regulatory & Policy | Carbon costs, disclosure mandates, water/energy permitting, moratoria, community opposition | Medium | Tightening | EU (EED recast) requires energy/water reporting; US states shifting from tax incentives to grid-upgrade cost-sharing; 7 in 10 Americans oppose local data center construction (Gallup).
7 | Data centers' own climate footprint | DC Climate Footprint | The reverse facet: emissions, energy and water consumption of the sector driving climate change | High | Growing | Global data center power consumption projected to rise ~160% by 2030 (Goldman Sachs); data centers could reach ~14% of US power demand by 2030, up from ~5% in 2025 (S&P).
8 | Adaptation & resilience | Adaptation Strategies | Mitigation levers: siting, cooling technology, water reuse, microgrids, hardening, insurance structuring | Opportunity | Accelerating | Proactive adaptation protects ~$150bn in net asset value (30-39% of exposed value in every scenario tested).
9 | Regional exposure | Regional Exposure | How hazard mix and exposure vary by geography and market | Varies | Diverging | Climate value-erosion exposure: China ~56% and Europe ~53%, roughly double the US (~28%) and APMEA (~28%).

## Physical Hazards
Facet 1 - Physical Climate Hazards
Direct and indirect physical threats to facilities and operations.
Hazard | Type | Impact mechanism on data centers | Operational consequences | Exposure indicators / evidence | Trend under climate change
Extreme heat | Chronic + acute | Higher ambient temperatures reduce cooling efficiency and shrink thermal headroom; equipment derating; staff heat stress during outdoor maintenance | Higher PUE and energy cost, throttling or shutdown of IT load, shortened equipment life, SLA breaches | Cooling is ~40% of energy use at normal temperatures and rises in heat waves; heat assessed separately by XDI because it drives operational continuity rather than physical damage | More frequent, longer, more intense heat waves globally
High humidity (with heat) | Chronic | Co-occurring high temperature and humidity limits air-side economization (free cooling) and evaporative cooling effectiveness | Loss of free-cooling hours forces mechanical cooling, raising energy and water use | Hours limiting direct air cooling have risen significantly over 45 years, especially in the tropics and southeastern US; share of sites losing free cooling for >25% of the year is rising (Sci Reports, 2026) | Continued expansion of constrained hours through mid-century
Riverine / surface flooding | Acute | Inundation of ground-level equipment, substations, fuel storage, access roads | Outages, equipment write-offs, restricted site access, generator fuel-supply failure | Flooding is one of the top three acute hazards in First Street's 79%-of-capacity exposure finding | Heavier precipitation extremes increase flood frequency
Coastal inundation / sea-level rise | Chronic + acute | Seawater flooding from high tides, storm surge, low pressure and waves damages coastal land, buildings and infrastructure | Permanent site viability loss in worst cases; saltwater damage; rising flood-defense capex | Named as a key hazard in XDI 2026 global analysis of planned data centers | Accelerating with sea-level rise
Wildfire | Acute | Direct fire threat, smoke/particulate ingestion into air handling, PSPS (preemptive power shutoffs) | Air filtration failures, forced shutdowns, grid supply interruption, evacuation of staff | One of the three acute hazards driving the First Street 79% exposure figure | Longer fire seasons, larger burned areas
Severe convective storms (tornado, hail, high wind) | Acute | Damage to roofs, exposed HVAC, cooling towers, solar installations; debris impact | Physical damage, cooling loss, long repair lead-times for bespoke equipment | SCS caused ~US$51bn global insured losses in 2025; 64% of US capacity under construction is moving to frontier markets (West Texas, Tennessee, Wisconsin, Ohio) with elevated tornado/hail/wind risk | Insured nat-cat losses rising 5-7%/yr in real terms (Swiss Re sigma)
Tropical cyclones / hurricanes | Acute | Wind and surge damage, prolonged regional grid and telecom outages | Multi-day outages, fuel logistics failure for backup generation | Cyclones listed among key hazards in XDI 2026 planned-facility analysis | Higher intensity storms; slower-moving, wetter systems
Drought / water scarcity | Chronic | Restricts evaporative cooling water; municipal restrictions can curtail supply | Cooling capacity limits, higher operating cost, community conflict and permitting friction | Two-thirds of new data centers since 2022 sit in water-stressed regions; ~80% of potable water used in cooling evaporates | Expanding drought-prone areas
Indirect / interdependency failure | Systemic | A resilient facility still fails if grid, water, telecom, transport or supply chains fail around it | Outages despite on-site hardening; extended recovery times | XDI: disruption risk to a synthetic European portfolio increased ~10x when indirect risk was included; surrounding infrastructure often faces higher heat-disruption risk than the facilities themselves (notably Indonesia, Brazil, Mexico, Spain, India, US, Malaysia) | Grows with hazard frequency and grid stress

## Cooling & Water
Facet 2 - Cooling & Water Stress
How warming and water scarcity degrade thermal management, and what it costs.
Issue | Detail | Quantified evidence | Consequence | Mitigation options
Cooling energy share | Cooling dominates non-IT energy use and grows disproportionately in heat waves | ~40% of data center energy use at normal temperatures, higher during extreme heat (Rhizome/CNBC, 2026) | Peak energy costs coincide with peak grid stress and peak tariffs | Raise supply-water temperature (each +1 degC chiller setpoint cuts cooling energy ~4% - Nvidia); liquid cooling at up to 45 degC coolant
Free-cooling (air-side economization) limits | High heat + humidity hours make outside air unusable for direct cooling | 45-year significant rise in limiting hours, worst in tropics and southeastern US; growing share of sites constrained >25% of the year; constraints expand through mid-century (Scientific Reports, June 2026) | Loss of the cheapest, most water-efficient cooling mode; retrofit pressure on hybrid designs | Hybrid architectures, indirect evaporative with backup DX, rear-door heat exchangers, immersion cooling
Evaporative cooling water demand | Water use spikes exactly when supplies are shortest | A single large AI data center can consume up to ~5 million gallons (18.9 ML) per day; ~80% of potable cooling water evaporates; many systems do not recirculate | Direct competition with municipal supply during heat waves and droughts; reputational and permitting risk | Closed-loop systems, non-potable/reclaimed water, air-cooled chillers (energy trade-off), water-use effectiveness (WUE) targets
Siting in water-stressed regions | Growth is concentrated where water is already scarce | Two-thirds of all data centers built or in development since 2022 are in regions already facing water scarcity (Al Jazeera, 2026) | Long-term license-to-operate risk; drought curtailment exposure | Climate-adjusted site selection; water-positive commitments; on-site water storage and reuse
Hardware thermal tolerance | Chip and server design is adapting to hotter operations | Nvidia's newer AI servers run cooling liquid at 45 degC, up from previously lower temperatures | Reduces chiller dependence and enables heat reuse, but raises facility design complexity | Warm-water liquid cooling, heat-reuse export to district heating

## Energy & Grid
Facet 3 - Energy & Grid Impacts
Climate stress on power supply meets explosive demand growth.
Issue | Detail | Quantified evidence | Consequence
Simultaneous peak stress | Extreme heat raises data center cooling load exactly when air-conditioning demand peaks and thermal generation/transmission capacity derates | "Data centers need the most energy exactly when the grid has the least available to give" (Rhizome CEO, 2026); 2026 US heat wave strained grid and water supplies simultaneously | Elevated blackout/brownout risk; exposure to demand-response curtailment; price spikes
Power supply as top outage cause | Grid supply failure remains the dominant driver of downtime | ~45% of data center outages are power-related (Uptime Institute Global Data Center Survey) | Business-interruption losses; investment needed in on-site generation and storage
Demand growth outpacing infrastructure | AI build-out is outstripping grid and water expansion | Global data center power consumption projected +160% by 2030 (Goldman Sachs); data centers ~14% of US power demand by 2030 vs ~5% in 2025 (S&P); utilities and regulators warn construction pace exceeds infrastructure expansion | Interconnection queues, delayed energizations, higher tariffs, political backlash
Frontier-market grid fragility | New capacity is shifting to regions with weaker infrastructure | 64% of US capacity under construction is outside traditional hubs; many global planned facilities are in markets with less resilient grids (XDI 2026) | Higher indirect-risk exposure; longer restoration after climate events
Backup power vulnerabilities | Generators and fuel logistics are themselves climate-exposed | Flooded fuel storage, blocked transport access, and multi-day regional outages exceed typical 24-72h fuel reserves | Extended outages during compounding events; pressure for microgrids and long-duration storage

## Financial & Insurance
Facet 4 - Financial & Insurance Impacts
How physical climate risk is repricing data center assets, insurance and capital.
Item | Detail | Quantified evidence | Implication
Insurance premium growth | Rapidly expanding, climate-exposed insured base | Global data-center insurance premiums projected to rise from US$10.6bn to US$24.2bn by 2030 (Swiss Re sigma); hyperscale premiums ~$10bn/yr already, double the global aviation market | Premiums increasingly priced on site-level hazard data and resilience specs
Asset value concentration | Single campuses now rival national infrastructure in insured value | Total insurable values for one hyperscale campus can reach US$20-30bn (S&P); insurable asset base of ~11,000 operating data centers exceeds US$2tn; annual investment to surpass US$300bn by 2027 | Severe accumulation/aggregation risk for insurers in cat-exposed locations
Climate exposure of asset value | Downtime cost at AI scale multiplies exposure | Physical risk per GW ~2.6x higher for new AI-era facilities than the installed base; total climate exposure could grow from US$388bn to US$1.0-3.7tn under published AI growth scenarios | Climate-adjusted DCF valuation is becoming standard for facility-level underwriting
Five core risk channels | Framework used in climate-adjusted valuation studies | (1) cooling costs, (2) business interruption, (3) physical damage, (4) heat productivity, (5) carbon costs | All five channels feed discounted-cash-flow impacts on asset value
Business interruption (BI) | Downtime is the dominant financial exposure, tied to SLAs and multi-tenant dependencies | BI, loss of rent, and service interruption flagged as critical operational-phase covers (Swiss Re); power supply drives ~45% of outages | BI cover harder to structure than for conventional property; parametric products emerging
Underwriting/valuation gap | Capital still flows to highest-exposure markets without adjusted pricing | First Street: markets equivalent on power cost and connectivity diverge sharply on climate risk; gap showing in NOI stability, insurance availability, debt capacity, refinancing terms and exit valuations | Growing disconnect between current valuations and forward-looking physical risk
Rising nat-cat baseline | The loss environment underneath is deteriorating | Insured losses from natural catastrophes rising 5-7%/yr on average in real terms; severe convective storms alone caused ~US$51bn global losses in 2025 (Swiss Re) | Structural upward pressure on premiums and deductibles for exposed sites

## Regulatory & Policy
Facet 5 - Regulatory, Policy & Social License
Transition risks: disclosure, carbon costs, permitting and community opposition.
Area | Jurisdiction / scope | Requirement or trend | Impact on data centers
Energy & water disclosure | European Union | EU Energy Efficiency Directive (recast) introduces mandatory reporting of data center energy performance and water usage; broader transparency requirements tightening | Compliance cost; public benchmarking of PUE/WUE; laggards exposed
Carbon pricing & costs | EU ETS, national carbon taxes, corporate net-zero commitments | Carbon costs identified as one of five core climate risk channels in facility-level valuation studies | Raises cost of fossil-backed power and diesel backup; accelerates PPA and clean-firm procurement
Grid cost allocation | US state regulators | Shift from offering tax incentives toward requiring data centers to pay for grid upgrades and demonstrate clean-energy commitments | Higher connection costs; longer negotiation timelines; clean-energy procurement as a de facto permitting condition
Water permitting | Water-stressed municipalities globally | Heightened scrutiny of cooling-water withdrawals; drought-period restrictions | Permit denials/delays; requirements for reclaimed water or closed-loop cooling
Moratoria & zoning | Ireland (Dublin), Netherlands (Amsterdam), Singapore (historic), various US counties | Grid- and resource-driven pauses or conditions on new connections and construction | Constrains growth in established hubs; pushes capacity to frontier markets with higher physical risk
Community opposition | United States (national polling) | 7 in 10 Americans opposed data center construction in their local communities (Gallup, 2026); opposition intensified during heat waves that strained shared grid and water | Political/social license risk; project cancellations and delays; local benefit agreements increasingly required
Climate risk disclosure | Investors, rating agencies, insurers | S&P treats hyperscale data centers as an emerging risk pool; insurers demand granular site-selection and resilience data | Financing conditions and project economics now tied to demonstrated climate resilience

## DC Climate Footprint
Facet 6 - Data Centers' Own Climate Footprint (the reverse impact)
The sector is both victim and contributor: its energy, water and carbon footprint feeds the problem.
Dimension | Current state | Trajectory | Key figures
Electricity consumption | Data centers are among the fastest-growing electricity consumers, driven by AI training and inference | Consumption projected to roughly double-to-triple by 2030 | Global power consumption +160% by 2030 (Goldman Sachs); ~14% of US power demand by 2030 vs ~5% in 2025 (S&P)
Carbon emissions | Emissions depend heavily on grid mix; rapid build-out is extending fossil generation life in some markets | Voluntary reporting frameworks remain largely non-binding; EU moving to mandatory transparency | Carbon costs are one of the five valuation risk channels; hyperscalers report rising scope 2/3 emissions since AI ramp
Water footprint | Evaporative cooling consumes potable water, concentrated in stressed basins | Rising with AI capacity, unless closed-loop and reclaimed-water designs are adopted | Up to ~5 million gallons/day for a large AI campus; ~80% of potable cooling water evaporates; two-thirds of new builds since 2022 in water-stressed regions
Construction & embodied carbon | Concrete, steel and IT-hardware supply chains carry large embodied emissions | Construction spend climbing steeply, multiplying embodied footprint | US data center construction spend grew from $1.8bn (2014) to $28.3bn (2024); 565 operating US facilities plus 571 in development
Grid decarbonization role | Large flexible loads can help or hinder the energy transition | PPAs, 24/7 carbon-free energy matching, and demand flexibility becoming competitive differentiators | Clean-energy commitments increasingly a regulatory and community expectation for new connections

## Adaptation Strategies
Facet 7 - Adaptation & Resilience Strategies
Levers to protect uptime and asset value, with indicative effectiveness.
Strategy | Category | Description | Effectiveness / evidence | Adoption stage
Climate-adjusted site selection | Planning | Screen candidate sites for heat, flood, wind, wildfire, water stress and indirect infrastructure risk across scenarios to 2100 before committing capital | Planned facilities offer a one-time window: siting and design decisions now materially change future insurability and continuity (XDI 2026); avoids the highest-cost retrofits entirely | Becoming standard among hyperscalers; inconsistent in frontier markets
Engineering hardening (archetype upgrades) | Design | Elevated equipment, flood barriers, wind-rated roofs/HVAC, fire-resistant envelopes, hail-protected cooling towers | Resilience archetypes materially reduce modelled disruption in XDI analysis; FM loss-prevention guidance now recommends increased fire and equipment protection for new builds | Mainstream for new tier-IV builds
Liquid / warm-water cooling | Cooling | Direct-to-chip or immersion cooling tolerating coolant up to 45 degC; reduces chiller and water dependence | Each +1 degC chiller setpoint cuts cooling energy ~4% (Nvidia); decouples cooling from ambient heat extremes | Rapid adoption in AI clusters
Closed-loop & reclaimed water systems | Water | Recirculating cooling water, using non-potable/reclaimed sources, WUE targets | Directly addresses the ~80% evaporation loss of once-through potable systems; reduces drought curtailment and permitting risk | Growing; regulatory pressure accelerating it
Microgrids, storage & on-site generation | Energy | Battery storage, long-duration storage, fuel cells, gas/renewable microgrids islanding from stressed grids | Targets the ~45% of outages caused by power supply; named among value-protecting measures in climate-adjusted valuation studies | Early-to-mid adoption; economics improving
Power purchase agreements (PPAs) & clean firm energy | Energy | Long-term contracted renewable/clean-firm supply reduces carbon cost exposure and supports permitting | Listed among measures whose protected asset value is quantifiable (part of the ~$150bn net protected value finding) | Mainstream among hyperscalers
Demand flexibility & workload shifting | Operations | Temporal/geographic shifting of deferrable AI workloads during grid stress and heat peaks | Reduces exposure to curtailment and price spikes; supports grid during simultaneous-peak events | Emerging; strongest with batch training workloads
Insurance structuring & parametrics | Financial | Layered property/BI programs, parametric triggers for heat/outage events, resilience-linked pricing | Insurers already price on granular resilience data; proactive adaptation protects 30-39% of exposed value in every scenario tested (~$150bn net across installed base) | Maturing rapidly as premiums rise toward $24.2bn by 2030
Redundancy & geographic distribution | Architecture | Multi-region replication and failover so a single-site climate event does not interrupt service | Mitigates the 10x indirect-risk multiplier by de-correlating from any one region's infrastructure | Standard for cloud; harder for latency-sensitive and single-campus AI training

## Regional Exposure
Facet 8 - Regional Exposure Patterns
How climate risk to data centers differs by geography.
Region / market | Dominant hazards | Exposure notes | Key figures
United States - traditional hubs (N. Virginia, etc.) | Heat waves, grid strain, water stress (localized) | Mature infrastructure but concentrated load; interconnection queues and community pushback growing | US value-erosion exposure ~28% (lower than China/Europe); data centers ~5% of US power demand in 2025, heading to ~14% by 2030
United States - frontier markets (West Texas, Tennessee, Wisconsin, Ohio) | Tornado, hail, high wind, heat | 64% of US capacity under construction is outside traditional hubs; exposed HVAC, cooling towers and solar on vast roofs are vulnerable to severe convective storms | SCS caused ~US$51bn global insured losses in 2025
Europe | Extreme heat, drought, river flooding, grid stress | 2026 heat waves disrupted power infrastructure; older grids; strong regulatory tightening (EED) | Value-erosion exposure ~53%; XDI found ~10x disruption-risk increase when indirect risk included for a European portfolio
China | Flooding, typhoons, extreme heat | Largest exposure share in climate-adjusted valuation studies; rapid coastal and inland build-out | Value-erosion exposure ~56% - highest of major regions
APMEA (Asia-Pacific, Middle East, Africa) | Extreme heat + humidity, cyclones, water scarcity, fragile grids | Tropics face the fastest loss of free-cooling hours; surrounding-infrastructure heat risk exceeds facility risk in Indonesia, India, Malaysia | Value-erosion exposure ~28% on average, but with extreme within-region variance
Latin America | Heat, drought, flooding, grid fragility | Brazil and Mexico flagged for surrounding-infrastructure disruption risk above facility-level risk | Included in XDI list of markets with elevated indirect heat-disruption risk
Global aggregate | All hazards | Risk is being locked in now: most future capacity is still in planning, where siting and design changes are cheapest | 79% of global capacity in markets with elevated flood/wind/wildfire risk (First Street); global capacity projected to nearly double by 2030

## Key Stats & Sources
Key Statistics & Source Register
Headline quantitative findings with attribution. Figures compiled July 2026; verify before external use.
Statistic | Value | Source | Year
Global data center capacity in markets with elevated flood/wind/wildfire risk | 79% | First Street, 18th National Risk Assessment | 2026
Increase in disruption risk when indirect (infrastructure) risk is included - European portfolio | ~10x | XDI Global Data Centres Report | 2026
Global data-center insurance premiums, today vs 2030 | US$10.6bn -> US$24.2bn | Swiss Re Institute, sigma insights 07/2026 | 2026
Physical climate risk per GW, new AI-era facilities vs installed base | ~2.6x higher | Climate-adjusted valuation study (reported by The Tech Data) | 2026
Potential total climate exposure under AI growth scenarios | US$388bn -> US$1.0-3.7tn | Climate-adjusted valuation study | 2026
Net asset value protected by proactive adaptation (installed base) | ~US$150bn (30-39% of exposed value) | Climate-adjusted valuation study | 2026
Regional value-erosion exposure | China 56%, Europe 53%, US 28%, APMEA 28% | Climate-adjusted valuation study | 2026
Share of data center energy used for cooling (normal conditions) | ~40% | Rhizome, via CNBC | 2026
Cooling energy saved per +1 degC chiller setpoint | ~4% | Nvidia | 2026
Max coolant temperature of newest AI servers | 45 degC | Nvidia | 2026
Share of data center outages caused by power supply | ~45% | Uptime Institute Global Data Center Survey | 2025
Projected growth in global data center power consumption by 2030 | +160% | Goldman Sachs, via Insurance Business | 2026
Data centers' share of US power demand | ~5% (2025) -> ~14% (2030) | S&P Global | 2026
Water consumption of a single large AI data center | Up to 5 million gallons (18.9 ML) per day | Al Jazeera reporting | 2026
Share of potable cooling water that evaporates | ~80% | Al Jazeera reporting | 2026
New data centers (since 2022) located in water-stressed regions | Two-thirds | Al Jazeera reporting | 2026
US capacity under construction outside traditional hubs | 64% | Zurich Insurance, via CNBC | 2026
Global insured losses from severe convective storms in 2025 | US$51bn | Swiss Re sigma | 2026
Long-term real growth of insured natural catastrophe losses | 5-7% per year | Swiss Re sigma | 2026
Insurable value of a single hyperscale campus | US$20-30bn | S&P Global Ratings | 2026
Total insurable asset base of ~11,000 operating data centers | >US$2tn | Insurance Journal | 2026
Annual hyperscale data center investment by 2027 | >US$300bn | Insurance Journal | 2026
US data center construction spending, 2014 vs 2024 | US$1.8bn -> US$28.3bn | Insurance Business / industry data | 2026
Americans opposing data center construction in their community | 7 in 10 | Gallup | 2026
Trend in hours limiting air free cooling (45-yr record) | Significant increase, worst in tropics & SE US | Scientific Reports (Nature) | 2026