## Executive Summary
Orbital Data Center — Aggregated Research Summary
CONCEPT OVERVIEW
An orbital data center (ODC) is a compute facility deployed in low-Earth orbit (LEO),
leveraging SpaceX Starship's mass-to-orbit economics to position GPU/AI infrastructure
beyond terrestrial power, land, and permitting constraints.
This workbook aggregates data from five research branches in this repository:
1. SpaceX / xAI Financial Model — launch costs, Starship unit economics
2. Datacenter Infrastructure Model — capex/MW, BOM, power, build timelines
3. 1 GW DC Memory Content — GPU rack specs, HBM/DRAM/NAND BOM
4. Datacenter Vendor Metrics — colo capacity, AI share, vendor landscape
5. Energy Costs & DC Economics — power pricing, PUE
KEY METRICS AT A GLANCE
Metric | Value | Source Branch | Notes
Starship target cost/kg to LEO | $10–50 | SpaceX Model | vs. $2,700/kg Falcon 9
Starship payload to LEO | 100,000–150,000 kg | SpaceX Model | Fully reusable config
Falcon 9 cost/launch (internal) | ~$15M | SpaceX Model | Booster reused 20+ flights
Falcon 9 payload to LEO | 22,800 kg | SpaceX Model | Expendable upper stage
Starship target cost/launch | $10–50M | SpaceX Model | Fully reusable (both stages)
GB300 NVL72 rack TDP | 132 kW | Memory Content | 72 GPUs per rack
GB300 NVL72 rack weight (est.) | ~2,500 kg | Memory Content | Rack + servers + cabling
HBM3e per GPU | 288 GB | Memory Content | Fixed in silicon
Memory semiconductor $/GPU | $5,927 (train) / $5,959 (infer) | Memory Content | HBM + DRAM + NAND
Terrestrial capex per MW (2025) | $12–13M / MW | DC Infra Model | All-in hyperscaler build
Terrestrial power cost | $72/MWh (2025) | DC Infra Model | Rising from $48 in 2018
DC build timeline (land to live) | 40 months (2025) | DC Infra Model | Power procurement bottleneck
US DC power demand (2025) | 72 GW | DC Infra Model | Growing to 210 GW by 2030E
Hyperscaler AI capex (2025) | $238B | DC Infra Model | AWS+MSFT+GOOG+Meta+ORCL+AAPL
Colo vendor total capacity | ~28 GW (top 10) | Vendor Metrics | Live + under construction
AI share of colo capacity | 30–100% | Vendor Metrics | CoreWeave 100%, DLR 30%
Model compiled: 2026-06-04 20:09 UTC

## Unit Economics — Launch
Unit Economics — Launch Cost to Orbit
1. LAUNCH VEHICLE COMPARISON
Metric | SpaceX Falcon 9 | SpaceX Falcon Heavy | SpaceX Starship | ULA Vulcan | Arianespace A6 | Blue Origin NG | Source
Price to LEO ($/kg) | $2,700 | $1,500 | $10–50 (target) | $15,000–20,000 | $12,000–15,000 | $8,000 (est.) | SpaceX Model
Payload to LEO (kg) | 22,800 | 63,800 | 100,000–150,000 | 27,200 | 21,650 | 45,000 | SpaceX Model
Price / launch ($M) | $67 (external) | $90–150 | $10–50 (target) | $110–150 | $90–115 | $80 (est.) | SpaceX Model
Internal cost / launch ($M) | ~$15 | ~$30 | $2–5 (target) | n/a | n/a | n/a | SpaceX Model
Reusability | Booster: 20+ flights | Booster: partial | Both stages | Expendable | Expendable | Booster planned | SpaceX Model
2024 launch cadence | 134 | 7 | Test flights | 3 | 3 | 0 | SpaceX Model
2025E launch cadence | ~155 | ~10 | Iterating | ~10 | ~8 | ~3–5 | SpaceX Model
Fairing volume (m³) | ~145 | ~145 | ~1,000 | ~87 | ~165 | ~300 | Industry est.
2. STARSHIP UNIT ECONOMICS — MARGIN TRAJECTORY
| 2022A | 2023A | 2024A | 2025E | 2026E | 2027E | Long-Term
Segment Revenue ($M) | 0 | 0 | 200 | 800 | 2000 | 3500
NASA HLS milestones | 0 | 0 | 150 | 400 | 600 | 800
DOD / NatSec contracts | 0 | 0 | 30 | 150 | 400 | 800
Commercial (sat deployment) | 0 | 0 | 10 | 150 | 600 | 1200
Internal (Starlink v3) | 0 | 0 | 10 | 100 | 300 | 400
Segment COGS ($M) | 0 | 0 | 200 | 640 | 1400 | 2100
Segment Gross Profit ($M) | 0 | 0 | 0 | 160 | 600 | 1400
Segment Gross Margin % | n/a | n/a | 0% | 20% | 30% | 40% | 60–70%
Flights per vehicle (target) | n/a | n/a | 1 | 3 | 8 | 15 | 100+
Mfg cost / vehicle ($M) | n/a | n/a | 200 | 150 | 100 | 80 | $30–50
Cost per flight ($M) | n/a | n/a | 200 | 50 | 12.5 | 5.3 | ~$2–3
Revenue per flight ($M) | n/a | n/a | 200 | 267 | 250 | 233 | varies
3. COST TO DEPLOY 1 MW OF COMPUTE TO ORBIT
Component | 2022A: Cost ($M); 2023A: Weight (kg); 2024A: Notes
GPU rack hardware (GB300 NVL72) | 2022A: ~$0.8–1.0; 2023A: ~2,500; 2024A: 72 GPUs, 132 kW TDP, at rack-level pricing
Rad-hardening & thermal mods | 2022A: ~$0.3–0.5; 2023A: ~200; 2024A: Radiation shielding, thermal management for vacuum
Power system (solar + battery) | 2022A: ~$2.0–3.0; 2023A: ~4,000; 2024A: ~150 kW solar array + battery for eclipse periods
Cooling system (space radiator) | 2022A: ~$1.0–1.5; 2023A: ~1,500; 2024A: Passive/active radiator panels for 132 kW heat rejection
Structure & bus | 2022A: ~$0.5–1.0; 2023A: ~1,000; 2024A: Satellite bus, docking, attitude control
Comms (optical inter-sat link) | 2022A: ~$0.3–0.5; 2023A: ~300; 2024A: Laser links for cluster mesh + ground downlink
Integration & test | 2022A: ~$0.5–1.0; 2024A: Assembly, vibration, thermal-vacuum testing
Launch cost (Starship, at target) | 2022A: ~$0.1–0.5; 2024A: ~10,000 kg payload share at $10–50/kg
TOTAL per rack-equivalent | 2022A: ~$5.5–9.0; 2023A: ~9,500; 2024A: Per 132 kW orbital rack module
TOTAL per MW (orbit) | 2022A: ~$42–68; 2023A: ~72,000 kg/MW; 2024A: vs. $12–13M/MW terrestrial (2025)
Notes: Orbital costs are highly speculative and assume mature Starship reuse. Terrestrial $12-13M/MW includes land, building, power infra.
Orbital cost is dominated by power generation (solar) and thermal management — subsystems unnecessary on Earth.

## Unit Economics — Terrestrial
Unit Economics — Terrestrial DC Benchmarks
1. CAPEX PER MW OF NEW CAPACITY ($M/MW)
| 2020 | 2022 | 2024A | 2025A | 2026E | 2028E | 2030E | Notes
Amazon (AWS) | 8.2 | 9.5 | 12 | 12.8 | 12.5 | 11.8 | 11.2 | From DC Infra Model
Microsoft (Azure) | 7.8 | 9.2 | 11.5 | 12.5 | 12.2 | 11.4 | 10.8
Google (GCP) | 7.5 | 9 | 11.2 | 12 | 11.8 | 11.2 | 10.5
Meta | 8.5 | 9.8 | 12.5 | 13.2 | 12.8 | 12 | 11.2
Oracle Cloud | 9 | 10 | 13 | 13.5 | 13 | 12 | 11
2. DATACENTER BILL OF MATERIALS ($/MW of IT Load)
Component |  | 2020 $M/MW | 2024 $M/MW | 2028E $M/MW | 2030E $M/MW | Key Vendors
Land & Site Prep |  | 0.5 | 0.8 | 1 | 1.1 | CBRE, JLL
Building Shell & Floor |  | 1.8 | 2.1 | 2.4 | 2.5 | DPR, Turner
HV Substation & Transformers |  | 1 | 1.5 | 1.8 | 1.9 | ABB, Siemens, Eaton
Switchgear & Busway |  | 0.8 | 1 | 1.2 | 1.2 | Schneider, Eaton
UPS Systems |  | 0.6 | 0.8 | 0.9 | 0.9 | Vertiv, Schneider
Backup Generators |  | 0.5 | 0.6 | 0.7 | 0.7 | Caterpillar, Cummins
PDUs & Power Whips |  | 0.3 | 0.4 | 0.4 | 0.4 | Vertiv, Schneider
Chillers & Cooling Towers |  | 0.8 | 1 | 0.9 | 0.8 | Trane, Johnson Controls
CRAH/CRAC Units |  | 0.3 | 0.3 | 0.3 | 0.2 | Vertiv, Stulz
Liquid Cooling (DLC/Immersion) |  | 0.1 | 0.5 | 0.9 | 1 | CoolIT, GRC, Asetek
Fiber & Structured Cabling |  | 0.5 | 0.6 | 0.8 | 0.8 | Corning, CommScope
Network Switches & Routers |  | 0.5 | 0.7 | 0.8 | 0.8 | Arista, Cisco, Broadcom
GPU Servers (AI-optimized) |  | 0 | 3 | 5 | 5.5 | NVIDIA, AMD, Dell, HPE
CPU Servers (General) |  | 2.5 | 2 | 1.8 | 1.6 | Dell, HPE, Lenovo
Storage (SSD/HDD) |  | 0.4 | 0.5 | 0.6 | 0.6 | Pure, NetApp, Samsung
Security, BMS, DCIM |  | 0.3 | 0.3 | 0.5 | 0.5 | Honeywell, Schneider
Design, Engineering, PM |  | 0.6 | 0.8 | 1 | 1 | HDR, AECOM, Jacobs
TOTAL |  | 11.5 | 16.9 | 20.9 | 21.5
3. POWER ECONOMICS
| 2018 | 2020 | 2022 | 2024 | 2025 | 2028E | 2030E
Avg power cost ($/MWh) | 48 | 52 | 60 | 70 | 72 | 64 | 52
US DC power demand (GW) | 17 | 22 | 32 | 55 | 72 | 150 | 210
Interconnect queue (months) | 18 | 22 | 28 | 38 | 42 | 32 | 24
DC build timeline (months) | 24 | 26 | 30 | 38 | 40 | 32 | 26
4. HYPERSCALER CAPEX ($B) — ANNUAL
| 2020 | 2022 | 2023 | 2024A | 2025A | 2026E | 2028E | 2030E
Amazon (AWS) | 21 | 36 | 48.4 | 83 | 105.3 | 112 | 145 | 158
Microsoft (Azure) | 15.4 | 28 | 32 | 55.7 | 88 | 102 | 122 | 128
Google (GCP) | 15 | 26 | 32.3 | 52.5 | 74.5 | 86 | 102 | 108
Meta | 11 | 18 | 28 | 39.2 | 62 | 72 | 80 | 82
Oracle Cloud | 2.4 | 4 | 6.9 | 14.5 | 20 | 25 | 28 | 29
Apple | 5.5 | 6.5 | 7 | 9.5 | 11.5 | 13.5 | 16 | 18
TOTAL Hyperscaler | 70.3 | 118.5 | 154.6 | 254.4 | 361.3 | 410.5 | 493 | 523

## Payload Specifications
Payload Specifications — Compute Hardware for Orbit
1. GB300 NVL72 RACK — REFERENCE PLATFORM (2025–2026)
Specification | GB300 NVL72 | Vera Rubin (est.) | Change |  | Source
GPUs per rack | 72 | 72 | — |  | NVIDIA specs
CPUs per rack | 36 | 36 | — |  | NVIDIA specs
Rack TDP (kW) | 132 | ~150 | +14% |  | NVIDIA specs
HBM generation | HBM3e | HBM4 | New gen
HBM per GPU (GB) | 288 | 384 | +33% |  | NVIDIA specs
HBM per rack (TB) | 20.7 | 27.6 | +33%
System memory per rack (TB) | 17 | ~20 | +18% |  | LPDDR5X → LPDDR6
E1.S NVMe drive bays | 144 | 144 | —
Local NAND per rack (TB) | 576 | 576 | — |  | At 4 TB/drive
Cooling | Direct-to-chip liquid | Direct-to-chip liquid | —
Rack size | 48U | 48U | —
Rack weight (est. kg) | ~2,500 | ~2,600 | +4% |  | Industry est.
2. MEMORY SEMICONDUCTOR CONTENT PER GPU
Component | Training $/GPU | Inference $/GPU | GB/GPU (Train) | GB/GPU (Infer)
HBM3e | $2,949 | $2,944 | 288 GB | 288 GB
DRAM (LPDDR5X + DDR5) | $913 | $884 | 255 GB | 247 GB
NAND (all tiers) | $2,071 | $2,130 | 18.3 TB | 18.9 TB
TOTAL Memory $/GPU | $5,933 | $5,959
3. NETWORKING COST PER GPU
Component | Training $/GPU | Inference $/GPU | Notes
Scale-up (NVSwitch, NVLink, NICs) | $4,650 | $4,650 | Fixed per rack, 72 GPUs
Scale-out (switches, optics, cables) | $2,300 | $700 | Training: fat-tree for all-reduce
TOTAL Networking $/GPU | $6,950 | $5,350
4. STARSHIP PAYLOAD CAPACITY vs. COMPUTE PAYLOAD
Metric | Value | Calculation | Notes
Starship payload to LEO (kg) | 100,000–150,000 | Published spec | Fully reusable config
GB300 NVL72 rack mass (est. kg) | ~2,500 | Rack + servers + cabling | Without power/cooling mods
Racks per Starship launch (mass) | 40–60 | 100K–150K / 2,500 kg | Mass-limited scenario
Starship cargo volume (m³) | ~1,000 | Published spec | 8.8m dia × ~17m long
NVL72 rack volume (48U + aisle) | ~2.5 m³ | 0.6m × 1.2m × 2.1m + access | Standard 48U footprint
Racks per Starship (volume) | ~100–200 | 1,000 / 2.5–5 m³ | Volume-limited (with clearance)
Binding constraint | MASS |  | 40–60 racks per launch (mass-limited)
GPUs per Starship launch | 2,880–4,320 | 40–60 racks × 72 GPUs
Compute power per launch (MW) | 5.3–7.9 | 40–60 racks × 132 kW | Rack TDP only
Memory per launch (HBM, TB) | 828–1,242 | 40–60 racks × 20.7 TB
Memory per launch (NAND, PB) | 23–35 | 40–60 racks × 576 TB | Local NAND only
5. MEMORY CONTENT PRICING (mid-2026)
Component | $/GB | $/TB | Notes
HBM3e | $10.00 | $10,240 | SK Hynix 50–55%, Samsung 30–35%, Micron 15–20%
LPDDR5X / DDR5 | $3.50 | $3,584 | Grace CPU system memory
NAND (die-level) | $0.11 | $113 | Enterprise SSD demand +58% in 2026
HBM4 (Vera Rubin era) | $14.00 | $14,336 | +40% price premium over HBM3e

## Cluster Size & Config
Cluster Size & Configuration — Orbital vs. Terrestrial
1. TERRESTRIAL REFERENCE: 1 GW AI DATACENTER
Metric | Training | Inference | Delta |  |  | Source
Total facility power | 1,000 MW | 1,000 MW | — |  |  | Memory Content
PUE | 1.15 | 1.18 | +3%
IT load | 870 MW | 847 MW | -3%
GPU compute allocation | 62% (540 MW) | 70% (593 MW) | +10% MW
Network fabric allocation | 15% (130 MW) | 8% (68 MW) | -48%
GPU racks (GB300 NVL72) | 4,091 | 4,492 | +10%
Total GPUs | 294,545 | 323,424 | +10%
HBM3e total | 85 PB | 93 PB | +9%
DRAM total | 75 PB | 80 PB | +7%
NAND total | 5.4 EB | 6.1 EB | +13%
Memory semiconductor $ | $1,746M | $1,927M | +10%
Networking equipment $ | $2,049M | $1,728M | -16%
2. ORBITAL CLUSTER SIZING SCENARIOS
Configuration | 10 MW Cluster | 50 MW Cluster | 100 MW Cluster | 500 MW Cluster | 1 GW Cluster | Notes
GPU racks required | 76 | 379 | 758 | 3,788 | 7,576 | At 132 kW/rack
Total GPUs | 5,472 | 27,288 | 54,576 | 272,736 | 545,472 | 72 GPUs/rack
Starship launches (mass) | 2–3 | 10–13 | 19–25 | 95–126 | 189–252 | 40–60 racks/launch
Starship launches (w/ power+cooling) | 5–8 | 25–40 | 50–80 | 250–400 | 500–800 | Incl. solar+radiators
HBM3e (PB) | 1.6 | 7.8 | 15.7 | 78.4 | 156.9 | 20.7 TB/rack
NAND local (PB) | 43.8 | 218.3 | 436.6 | 2,182.1 | 4,363.8 | 576 TB/rack
Solar array area (est. m²) | ~50K | ~250K | ~500K | ~2.5M | ~5M | At 200 W/m² BOL
Radiator area (est. m²) | ~30K | ~150K | ~300K | ~1.5M | ~3M | Thermal rejection
Orbit altitude (km) | 500–600 | 500–600 | 500–600 | 500–600 | 500–600 | LEO
Est. hardware cost ($B) | 0.5–0.9 | 2.7–4.5 | 5.5–9.0 | 27–45 | 55–90 | All-in excl. launch
Est. launch cost ($B) | 0.05–0.4 | 0.25–2.0 | 0.5–4.0 | 2.5–20 | 5–40 | At Starship targets
Est. total deployed cost ($B) | 0.6–1.3 | 3.0–6.5 | 6.0–13.0 | 30–65 | 60–130 | Hardware + launch
3. TERRESTRIAL HYPERSCALER CAPACITY (GW, IT Load)
Company | 2020 | 2022 | 2024A | 2025A | 2026E | 2030E
Amazon (AWS) | 3.6 | 5.5 | 9.2 | 12.5 | 15.5 | 26.5
Microsoft (Azure) | 3.0 | 4.8 | 7.8 | 11.0 | 14.0 | 25.0
Google (GCP) | 2.6 | 4.0 | 6.8 | 9.0 | 11.5 | 21.0
Meta | 1.3 | 2.3 | 5.2 | 7.5 | 9.5 | 17.5
Oracle Cloud | 0.5 | 1.0 | 2.8 | 4.2 | 5.8 | 11.0
Apple | 0.3 | 0.5 | 0.8 | 1.1 | 1.4 | 2.5
TOTAL Hyperscaler (GW) | 11.3 | 18.1 | 32.6 | 45.3 | 57.7 | 103.5
4. COLO / DC VENDOR CAPACITY (MW)
Vendor | Total MW | AI MW (est.) | AI % | Under Construction | Planned | Notes
Digital Realty (DLR) | 2,345 | ~700 | ~30% | ~845 MW | ~3 GW+ | Public REIT (NYSE: DLR)
Equinix (EQIX) | ~3,000+ | ~1,200 | ~40% | ~1,200 MW | ~3 GW+ | Public REIT (NASDAQ: EQIX)
QTS Realty (Blackstone) | 4,752 | ~2,400 | ~50% | ~3,250 MW | ~5 GW+ | Private
CyrusOne (KKR) | 789+ | ~400 | ~50% | ~600+ MW | ~2 GW+ | Private
Vantage Data Centers | 4,187 | ~2,500 | ~60% | ~2,900+ MW | ~2 GW+ | Frontier: 1.4 GW, $25B
Aligned Data Centers | 5,000+ | ~3,000 | ~60% | ~3,500+ MW | ~2 GW+ | Private (~$40B EV)
STACK Infrastructure | 4,000+ | ~2,000 | ~50% | ~2,500+ MW | ~6 GW+ | 3 GW TX campus planned
Compass Datacenters | 500+ | ~200 | ~40% | ~300+ MW | ~2 GW+ | $10B Lauderdale County
NTT Global | 2,000+ | ~600 | ~30% | ~800+ MW | ~1 GW+ | 150+ DCs, 20+ countries
CoreWeave | ~1,500+ | ~1,500 | ~100% | ~700+ MW | ~2 GW+ | Pure-play AI GPU cloud

## Maintenance Costs
Maintenance Costs — Orbital vs. Terrestrial Operations
1. TERRESTRIAL DC OPERATING COSTS (annual, per MW)
Cost Category | 2020 ($M/MW/yr) | 2024 ($M/MW/yr) | 2026E ($M/MW/yr) | 2030E ($M/MW/yr) | % of Total | Notes
Power (electricity) | 0.46 | 0.61 | 0.60 | 0.46 | 45–55% | At $/MWh × 8,760 hrs × PUE
Staff & operations | 0.08 | 0.10 | 0.11 | 0.12 | 10–12% | NOC, facilities, security
Hardware refresh (depreciation) | 0.15 | 0.25 | 0.30 | 0.35 | 20–25% | 3–5 yr GPU refresh cycle
Cooling operations | 0.03 | 0.04 | 0.05 | 0.04 | 4–5% | Water, chemicals, pumps
Network & connectivity | 0.02 | 0.03 | 0.04 | 0.04 | 3–4% | Transit, peering, dark fiber
Insurance & compliance | 0.01 | 0.02 | 0.02 | 0.02 | 2% | Property, liability, SOC2
Repairs & spare parts | 0.02 | 0.03 | 0.03 | 0.03 | 3% | UPS batteries, generator maint.
Software & licensing | 0.01 | 0.02 | 0.03 | 0.03 | 2–3% | DCIM, monitoring, orchestration
TOTAL opex per MW | 0.78 | 1.10 | 1.18 | 1.09 | 100%
2. ORBITAL DC OPERATING COSTS (annual, per MW, estimated)
Cost Category | Low ($M/MW/yr) | Base ($M/MW/yr) | High ($M/MW/yr) | % of Total | vs. Terrestrial | Notes
Power (solar array degradation + battery) | 0.0 | 0.0 | 0.0 | 0% | Eliminated | No utility bill; solar is capex
Solar array replacement reserve | 0.8 | 1.2 | 1.8 | 15–20% | New cost | ~2% array degrad/yr; 10-yr replacement
Ground station operations | 0.3 | 0.5 | 0.8 | 8–10% | Replaces connectivity | Tracking, scheduling, data relay
Mission control & orbital ops | 0.5 | 0.8 | 1.2 | 10–15% | Replaces facilities staff | Orbit maint., collision avoidance
Hardware refresh (deorbit + relaunch) | 2.0 | 3.5 | 6.0 | 35–45% | 3–5x terrestrial | Must launch replacement + deorbit old
Radiation-induced failures | 0.3 | 0.6 | 1.0 | 8–12% | New cost | SEU, latchup, total dose effects
Orbital debris insurance | 0.2 | 0.4 | 0.8 | 5–8% | New cost | Collision risk, Kessler syndrome
Satellite bus maintenance | 0.1 | 0.3 | 0.5 | 4–6% | New cost | Attitude control, thermal system
Remote SW updates & patching | 0.05 | 0.1 | 0.2 | 1–2% | Similar | OTA firmware, security patches
TOTAL opex per MW | 4.3 | 7.4 | 12.3 | 100% | 4–10x terrestrial
3. HARDWARE REPLACEMENT CYCLE COMPARISON
Factor | Terrestrial | Orbital (LEO) | Impact |  |  | Notes
GPU refresh cycle | 3–5 years | 3–5 years | Similar need |  |  | Moore's law drives both
Replacement method | Swap in rack | Full satellite swap | 10–100x cost |  |  | No on-orbit servicing (yet)
Downtime for swap | Hours | Weeks–months | Availability hit |  |  | Launch scheduling, orbit insertion
Server MTBF (rad environment) | 50,000+ hrs | 10,000–30,000 hrs | 2–5x more failures |  |  | LEO radiation (Van Allen fringes)
Cooling system lifespan | 15–20 years | 10–15 years | Shorter in space |  |  | Thermal cycling, micrometeorites
Power system lifespan | 20+ years (grid) | 10–15 years (solar) | Replacement needed |  |  | Solar cell degradation ~2%/yr
Structural lifespan | 30–50 years | 10–20 years | Atomic oxygen erosion |  |  | LEO surface degradation
Satellite lifespan (historical) | n/a | 5–7 years (Starlink) | Short-lived |  |  | SpaceX designs for replacement
Decommissioning cost | Minimal | $0.5–2M per module | Significant |  |  | Controlled deorbit required
4. SPACEX LAUNCH OPERATIONS — COST STRUCTURE (from SpaceX Model)
Cost Component | 2022A | 2024A | 2025E | 2026E | 2027E
Propellant & consumables ($M) | 150 | 300 | 330 | 350 | 370
Refurbishment & recovery ($M) | 300 | 500 | 480 | 460 | 440
Mfg (fairings, 2nd stage) ($M) | 500 | 900 | 950 | 950 | 960
Launch ops & range fees ($M) | 200 | 380 | 430 | 460 | 490
Insurance & other ($M) | 168 | 278 | 343 | 350 | 460
Total launch COGS ($M) | 1318 | 2358 | 2533 | 2570 | 2720
Launch revenue ($M) | 2928 | 5896 | 6665 | 7140 | 7770
Launch gross margin % | 55% | 60% | 62% | 64% | 65%
5. STARLINK SATELLITE ECONOMICS (proxy for orbital hardware lifespan)
Metric | Value | Notes
Sat manufacturing cost (Gen2) | $250K–400K | Declining from $500K in 2020
Satellite lifespan | 5–5.5 years | Design life; some last longer
Sats per launch (Starlink) | 23–30 | 25 on v2 Mini; 30+ on Starship
Internal launch cost allocation | $14–15M per launch | Declining with reuse
Launch cost per satellite | $0.5–0.6M | At 25 sats/launch
Constellation size (2025E) | ~6,500+ operational | 12,000 approved; 42,000 applied
Annual replacement need | ~1,200–1,500 | At 5-yr lifespan
Replacement cost per year | $0.6–1.0B | Satellites + launch allocation
Revenue per sat per year ($K) | $770–1,080 | Varies by year (subscriber ramp)

## TCO Comparison
Total Cost of Ownership — Orbital vs. Terrestrial (100 MW, 10yr)
SCENARIO: 100 MW AI COMPUTE FACILITY — 10-YEAR TCO
Cost Category | Terrestrial ($M) | Orbital Low ($M) | Orbital Base ($M) | Orbital High ($M) | Notes
CAPEX — Initial Build
Hardware (servers, GPU, network) | 500 | 600 | 800 | 1100 | Rad-hardening premium for orbital
Power infrastructure | 300 | 200 | 300 | 500 | Solar+battery vs. grid connection
Cooling systems | 100 | 100 | 150 | 250 | Space radiators vs. chillers
Building / structure | 200 | 50 | 100 | 150 | Satellite bus vs. building shell
Land & permitting | 80 | 0 | 0 | 0 | No land cost in orbit
Launch costs | 0 | 50 | 200 | 500 | Starship at various maturity levels
Integration & test | 50 | 100 | 200 | 350 | More complex for space hardware
Total Initial Capex | 1230 | 1100 | 1750 | 2850
OPEX — Annual (×10 years)
Power / electricity | 610 | 0 | 0 | 0 | Solar in orbit = free electricity
Solar array reserve (annual) | 0 | 80 | 120 | 180 | Degradation replacement
Staff & operations | 100 | 50 | 80 | 120 | Remote ops vs. on-site
Hardware refresh (2 cycles) | 700 | 1400 | 2500 | 4500 | Relaunch cost dominates
Cooling operations | 40 | 10 | 30 | 50 | Passive radiators vs. active
Network & connectivity | 30 | 30 | 50 | 80 | Ground stations + inter-sat links
Insurance | 20 | 20 | 40 | 80 | Space debris risk premium
Repairs & parts | 30 | 30 | 60 | 100 | No on-site repair in orbit
Radiation failure reserve | 0 | 30 | 60 | 100 | SEU mitigation
Decommissioning (end of life) | 5 | 50 | 100 | 200 | Deorbit cost
Total 10-Year Opex | 1535 | 1700 | 3040 | 5410
TOTAL 10-YEAR TCO | 2765 | 2800 | 4790 | 8260
TCO per MW per year ($M) | 2.8 | 2.8 | 4.8 | 8.3
Orbital premium vs. terrestrial | — | +1% | +73% | +199%
Key insight: Orbital compute only reaches cost parity with terrestrial in the most optimistic Starship scenario (full reuse at $2-3M/flight).
The primary advantage is bypassing terrestrial constraints: power grid bottlenecks (42-month interconnect queues), land/permitting (40-month build), and geography.
Orbital TCO is dominated by hardware replacement costs — inability to physically service equipment makes refresh cycles 3-5x more expensive.

## Supply Chain & Components
Supply Chain — Component Pricing & Vendor Landscape
1. COMPONENT PRICE INDEX (2020 = 100)
Component | 2018 | 2020 | 2022 | 2024 | 2026E | 2030E | Trend
GPU / AI Accelerators | 40 | 100 | 170 | 310 | 240 | 140 | Peak 2024, declining
CPU Servers | 105 | 100 | 96 | 92 | 88 | 80 | Steady decline
Networking (Switches/Optics) | 95 | 100 | 115 | 145 | 142 | 110 | Elevated, normalizing
HV Transformers & Switchgear | 88 | 100 | 125 | 185 | 190 | 138 | Supply-constrained
UPS & Power Distribution | 92 | 100 | 118 | 145 | 148 | 120 | Demand-driven
Backup Generators | 94 | 100 | 122 | 142 | 145 | 120 | Caterpillar/Cummins backlog
Cooling (Chillers/CRAC) | 96 | 100 | 110 | 122 | 120 | 103 | Stable
Liquid Cooling (DLC) | 180 | 100 | 82 | 68 | 56 | 42 | Rapid cost reduction
Fiber & Cabling | 97 | 100 | 108 | 120 | 118 | 104 | Corning/CommScope supply
Construction Labor | 90 | 100 | 118 | 140 | 152 | 138 | Persistent shortage
Steel & Building Materials | 88 | 100 | 142 | 125 | 118 | 108 | Post-COVID normalization
Land & Real Estate | 85 | 100 | 125 | 160 | 178 | 190 | Structural inflation
2. DC SUPPLY CHAIN TOTAL ADDRESSABLE MARKET ($B)
Segment | 2020 | 2022 | 2024 | 2025 | 2026E | 2030E | Key Vendors
Servers & GPUs | 55 | 78 | 140 | 195 | 260 | 475 | NVIDIA, AMD, Dell, HPE
Networking Equipment | 15 | 19 | 30 | 40 | 52 | 102 | Arista, Cisco, Broadcom
Power Equipment | 10 | 14 | 24 | 33 | 44 | 90 | Vertiv, Schneider, Eaton
Cooling Systems | 6 | 8 | 15 | 21 | 29 | 64 | Vertiv, Trane, CoolIT
Construction & Engineering | 8 | 11 | 20 | 28 | 37 | 68 | Fluor, DPR, Turner
Real Estate / Colo Leasing | 12 | 16 | 23 | 28 | 35 | 74 | Equinix, DLR, QTS
DC Software & Mgmt (DCIM) | 3 | 4 | 6 | 8 | 10 | 22 | Schneider, Vertiv, Nlyte
Fiber & Connectivity | 5 | 7 | 10 | 13 | 17 | 37 | Corning, CommScope, Lumen
TOTAL | 114 | 157 | 268 | 366 | 484 | 932
3. HBM SUPPLIER MARKET SHARE (2026E)
Supplier | 2018: Share; 2020: Notes
SK Hynix | 2018: 50–55%; 2020: Technology leader, primary NVIDIA supplier for HBM3e/HBM4
Samsung | 2018: 30–35%; 2020: Ramping HBM4 mass production (early 2026)
Micron | 2018: 15–20%; 2020: Competitive on HBM3e, HBM4 expected late 2026
4. CAPEX FLOW — WHERE EACH $1 OF DC CAPEX GOES
Segment | 2020 | 2024 | 2028E | 2030E
Servers & GPUs | 35% | 42% | 45% | 44%
Networking Equipment | 10% | 9% | 9% | 9%
Power Infrastructure | 15% | 14% | 13% | 12%
Cooling Systems | bar: 2018 to 2030E
Building & Construction | 12% | 10% | 9% | 9%
Land & Real Estate | bar: 2018 to 2030E
Fiber & Connectivity | bar: 2018 to 2024
Software, Security & Other | bar: 2018 to 2030E
Design, Engineering & PM | bar: 2018 to 2024
Contingency | 3% | 2% | 2% | 5%

## Sources & Methodology
Sources & Methodology
DATA SOURCES (from repository branches):
1. SpaceX / xAI Financial Model (branch: cursor/spacex-xai-financial-model-f0a5)
- Launch vehicle pricing, cost per kg, Starship margin trajectory
- SpaceX 3-statement model (2020–2028), competitive positioning
- Starlink satellite economics (manufacturing cost, lifespan, per-sat revenue)
- Sources: Bloomberg, WSJ, Reuters, Quilty Analytics, Morgan Stanley, Payload Space
2. Datacenter Infrastructure Model (branch: cursor/cloud-datacenter-model-0202)
- Hyperscaler capex (AWS, Azure, GCP, Meta, Oracle, Apple) — 2018–2030E
- GW capacity, server counts, datacenter counts
- Bill of materials ($/MW), component price indices
- Power supply & generation, build timelines, capex-to-revenue mapping
- Neocloud vendors (CoreWeave, Lambda, Crusoe, etc.)
- Sources: 10-K filings, 4Q25 earnings, industry reports
3. 1 GW Datacenter Memory Content (branch: cursor/datacenter-memory-content-1gw-63b2)
- NVIDIA GB300 NVL72 rack specifications
- Memory semiconductor content: HBM3e, DRAM, NAND (training vs. inference)
- Networking vs. memory spend analysis
- Vera Rubin forward look (HBM4, 2026–2027)
- Sources: NVIDIA specs, Supermicro datasheets, Citi/Goldman Sachs estimates
4. Datacenter Vendor Metrics (branch: cursor/datacenter-vendor-metrics-1337)
- 10 colo/DC vendors: DLR, Equinix, QTS, CyrusOne, Vantage, Aligned, STACK, Compass, NTT, CoreWeave
- Capacity (MW), AI share, top customers, GW buildout pipeline
- Sources: press releases, 10-K filings, IPO S-1, industry reports
5. Energy Costs & DC Economics (branch: cursor/energy-costs-data-centre-economics-ab1c)
- Power pricing, PUE benchmarks, renewable energy mix
ORBITAL DATA CENTER ESTIMATES:
Orbital-specific data points (solar array sizing, radiator area, radiation effects,
deorbit costs, space insurance) are derived from published aerospace industry references
and are marked as estimates throughout the workbook. These figures are illustrative
and represent early-stage feasibility analysis, not precise engineering specifications.
Key orbital assumptions:
- LEO altitude: 500–600 km (below Van Allen belt peak, above atmospheric drag)
- Solar flux: ~1,361 W/m² (AM0); array efficiency ~30%; BOL output ~200 W/m²
- Thermal rejection: radiator panels with emissivity ~0.85; assumes eclipse cycling
- Radiation environment: ~10 krad/yr total ionizing dose at 500 km, 51.6° inclination
- Satellite lifespan: 5–7 years (based on Starlink v2 design life)
- Starship cost: range of $2M–$50M per launch (early vs. mature reuse)
METHODOLOGY:
This workbook aggregates data from five separate research artifacts in this repository,
cross-referencing and reconciling where data overlaps (e.g., hyperscaler capex figures
appear in both the SpaceX and DC infrastructure models with consistent values).
Orbital cluster sizing is derived by mapping terrestrial rack specifications (GB300 NVL72)
against Starship payload constraints (mass and volume). TCO comparison uses a 10-year
horizon with 2 hardware refresh cycles, consistent with terrestrial GPU refresh cadences.
All orbital cost estimates are presented as ranges (low/base/high) to reflect the
significant uncertainty in space-based compute economics at this stage of development.
Model compiled: 2026-06-04 20:09 UTC
Disclaimer: For research/educational purposes only. Not investment advice.